## Slide 1: Body scans and Bottlenecks – Optimizing Hospital CT Process Flows
Presented By:
Sheethal Sridhar

## Slide 2
Is a CT Machine Available?
Nurse locates patient in the Waiting Room
(2 Min)
Patient requires a CT Scan
Nurse moves patient to the CT Scanning Room
(2 Min)
Nurse provides contrast Injection
(2 Min)
CT Tech Selects the CT Scan Protocol and preps the Machine
(3 Min)
CT Tech Performs the CT Scan
(17 Min)
Nurse assists Patient off the Table
(1 Min)
Nurse returns the Patient to the Changing Area
(2 Min)
Nurse Changes Linen and Cleans CT Room
(2 Min)
Nurse refills contrast Injector
(3 Min)
CT Tech Monitors Image Reconstruction
(10 Min)
CT Tech Codes and Distributes CT Image
(2 Min)
Patient Prep
Required Time: 7 Min
Nurse Time: 6 Min
Tech Time: 3 Min
CT Scan (Process Bottleneck)
Required Time: 17 Min
Post CT Scan
Required Time: 12 Min
Nurse Time: 6 Min
Tech Time: 12 Min
Total Process Time:
32 Min + 4 Min pre-process Time
CT Tech Task
Nurse Task
Nurse locates next patient in the Waiting Room
(2 Min)
Does another patient require a CT Scan?
Wait for next Patient
Wait for Availability of Machine
Single-Detector Units Process Flow Diagram
No
Yes
No
Yes

## Slide 3
CT Tech Performs the CT Scan
(17 Min)
CT Tech Monitors Image Reconstruction
(10 Min)
CT Tech Codes and Distributes CT Image
(2 Min)
Prep Process
Time Reduced by: 2 Min
Post CT Scan
Time Reduced by: 9 Min
CT Scan
Time Reduced by: 14.5 Min
CT Tech Selects the CT Scan Protocol and preps the Machine
(1 Min)
CT Tech Selects the CT Scan Protocol and preps the Machine
(3 Min)
CT Tech Performs the CT Scan
(2.5 Min)
CT Tech Monitors Image Reconstruction
(2 Min)
CT Tech Codes and Distributes CT Image
(1 Min)
Old Tech Time: 32 Min
Updated Tech Time: 6.5 Min
Time Reduced by: 25.5 Min
Updated Process Times with Multi-Detector Units

## Slide 4
Is a CT Machine Available?
Nurse locates patient in the Waiting Room
(2 Min)
Patient requires a CT Scan
Nurse moves patient to the CT Scanning Room
(2 Min)
Nurse provides contrast Injection
(2 Min)
CT Tech Selects the CT Scan Protocol and preps the Machine
(1 Min)
CT Tech Performs the CT Scan
(2.5 Min)
Nurse assists Patient off the Table
(1 Min)
Nurse returns the Patient to the Changing Area
(2 Min)
Nurse Changes Linen and Cleans CT Room
(2 Min)
Nurse refills contrast Injector
(3 Min)
CT Tech Monitors Image Reconstruction
(2 Min)
CT Tech Codes and Distributes CT Image
(1 Min)
Patient Prep
Required Time: 6 Min
Nurse Time: 6 Min
Tech Time: 1 Min
CT Scan
Required Time: 2.5 Min
Post CT Scan (Process Bottleneck)
Required Time: 10 Min
Nurse Time: 10 Min
Tech Time: 3 Min
CT Tech Task
Nurse Task
Nurse locates next patient in the Waiting Room
(2 Min)
Does another Patient require a CT Scan?
Wait for next Patient
Wait for Availability of Machine
Multidetector Units Process Flow Diagram (Process Unchanged)
No
Yes
No
Yes

## Slide 5
Revenue Considerations
  Overall Revenue will increase due to the increased throughput of the new machines.
  The number of CT Scans performed may increase due to the speed and quality of the scans performed by the new machine.
  Referrals by other doctors may drive more patients to the hospital due to the usage of advanced CT Scanners.
  Hospital may be able to charge more for each CT Scan due to the increased quality of the scans.
  Patients may be more willing to get a CT Scan due to the decrease in the time required.
ROI Considerations

## Slide 6
Cost Considerations
  Training should be provided to the hospital staff to use the new CT Machines.
  Downtime of a new machine may cause a loss of $1800 per hour.
  Repair and Services costs may increase due to increased complexity of the machines.
  Inventory cost will increase.

## Slide 7: Hourly margins
Assumptions:
Process is same for old and new machine
Supplies cost and hourly wages are unchanged
Not considering the starting time of 4 minutes
Per scan charge is $500 for both machine
Ignoring maintenance cost
Calculation is for single old and new machine

## Slide 8
Old Machine | New Machine
Total Process time = 32 minutes Number of scan/ hour = 60/32= 1.88 Revenue / hour = 500* 1.88 = $940 Cost / hour =50+35+50 = $135 Net = 940 - 135 = $805 | Total Process time = 15.5 minutes Number of scan/ hour = 60/15.5=3.87 Revenue / hour = 500* 3.87 = $1935 Cost / hour =50+35+50 = $135 Net = 1935 - 135 = $1800
Scanning Throughput Per hour throughput for 6 old machine 6*1.8 =10.8 scans/hr Per hour throughput for 3 new machine 3*3.87 = 11.61 scans/hr Total throughput for the 9 machines = 11.61+10.8 = 22.41 scans/hr | 
Revenue difference for new vs old machine / hour = 1800 - 805 = $995
New machine brings 2.24 times more revenue than old machine
Notes: 55,000 Patients in 2001 150 Per Day
6 /hr 81,125 Patients in 2005 222 Per Day
9.25/hr

## Slide 9: Recommendations for Implementing a New Process Flow
Layout Implementation: Having the Waiting room adjacent to the CT scan room can help to reduce the time taken by the nurse.
Centralizing the Nursing Room: Having a separate nurse for the Nursing Room and assigning the task of locating patients and assisting them.
Parallel Task Implementation: Training the CT Tech to refill the contrast injector during the post CT Scan phase.

## Slide 10
Thank You

## Slide 11: Revenue Per Day
Revenue
  55,000 Patients in 2001
    150 Per Day
  81,125 Patients in 2005
    222 Per Day
    9.25/hr
  Old Machine:
    1440/32 = 45 * 6 = 270 per day
    (45 * 500) - ((50*24) + (35*24) + (50*45)) = $18,210 per day ($758 per/hr per machine)
      $4548 per hour for all 6 machines
  New Machine:
    1440/15.5 = 92 * 3 = 276 per day
    (92 * 500) - ((50*24) + (35*24) + (50*92)) = $39,360 per day ($1640 per/hr per machine)
      $4920 per hour for all 3 machines
  Total = $9468 per hour with new and old machines